Draft Revisions as of June 28, for presentation at the July 7, 2004 hearing.  These revisions were developed by staff to address the comments received as of June 25 on the negative declaration and the proposed exception.

Terms and Conditions:

- The discharge must comply with all other applicable provisions, including water quality standards, of the Ocean Plan. Natural water quality conditions in the receiving water, seaward of the surf zone, must not be altered as a result of the discharge.

- UCSD/SIO must minimize concentrations of chemical additives, including copper, and antibiotics, in the effluent.  UCSD/SIO must submit a report to the Regional Board evaluating appropriate alternatives including, but not limited to, diversion to sewer, alternative treatment techniques, pollutant minimization, source control, and process optimization, to reduce effluent concentrations of copper, antibiotics, and other treatment additives. Formalin shall not be discharged to the ocean.   Copper and other additives to the seawater from the Birch Aquarium must be minimized to prevent the alteration of natural water quality conditions in the receiving water. In addition and at a minimum, UCSD/SIO must comply with effluent limits implementing Table B water quality objectives as required in Section III.C. of the Ocean Plan.

- Effluent and receiving water analysis for copper must employ the approved analytical method with the lowest minimum detection limits (currently Inductively Coupled Plasma/ Mass Spectrometry).

- A quarterly report of all chemical additives discharged via waste seawater must be submitted in the quarterly monitoring report to the Regional Board.

- Flow measurements (using a flow metering device) for Outfall 001, and estimates for all other permitted outfalls, must be made and reported quarterly to the Regional Board.

- By January 1, 2007 UCSD/SIO must eliminate all discharges of non-storm water urban runoff (i.e., any discharge of urban runoff to a storm drain that is not composed entirely of storm water), except those associated with emergency fire fighting.

- UCSD/SIO must specifically address the prohibition of non-storm water urban runoff and the reduction of pollutants in storm water discharges draining to the ASBS in a revised Storm Water Management Plan/Program (SWMP). UCSD/SIO is required to submit their revised SWMP to the Regional Board within six months of permit issuance. The SWMP is subject to the approval of the Regional Board.

- The revised SWMP must include a map of all entry points (known when the SWMP is prepared) for urban runoff entering the UCSD/SIO drainage system. The SWMP must also include a procedure for updating the map and plan when other entry points are discovered.

- The revised SWMP must describe the measures by which non-storm water discharges will be eliminated, and interim measures that will be employed to reduce non-storm water flows until the ultimate measures are implemented.

- The revised SWMP must also address storm water discharges, and how pollutants will be reduced in storm water runoff into the ASBS through the implementation of Best Management Practices (BMPs).  The SWMP must describe the BMPs and include an implementation schedule. The implementation schedule must be designed to ensure an improvement in receiving water quality each year (over the permit cycle) due to either a reduction in storm water discharges (due to diversion) or reduction in pollutants (due to on-site treatment or other BMPs). The implementation schedule must be developed to ensure BMPs are implemented within one year of the permit issuance date.

- Once every permit cycle, a quantitative survey of benthic marine life must be performed. The Regional Board, in consultation with the State Board Division of Water Quality, must approve the survey design.  The results of the survey must be completed and submitted to the Regional Board within six months before the end of the permit cycle.

- Once during the upcoming permit cycle, a bioaccumulation study using sand crabs (Emerita analoga) and mussels (Mytilus californianus) must be conducted to determine the concentrations of metals near field and far field (up and down coast, and offshore) in the ASBS. The Regional Board, in consultation with the Division of Water Quality, must approve the study design.  The results of the survey must be completed and submitted to the Regional Board at least six months prior to the end of the permit cycle (permit expiration). Based on the study results, the Regional Board, in consultation with the Division of Water Quality, may limit the bioaccumulation test organisms, required in subsequent permits, to only sand crabs or mussels.

- The effluent from Outfall 001 must be sampled and analyzed monthly for copper concentrations.

- During the first year of the permit cycle two samples must be collected from Outfall 001 (once during dry weather and once during wet weather) and analyzed for all Ocean Plan Table B constituents. During the first year of the permit cycle two composite samples must also be collected (once during dry weather and once during wet weather) representing flows from Outfalls 002, 003, 004A, and 004B; these two composite samples must also be analyzed for all Ocean Plan Table B constituents. For wet weather samples from Outfall 001 and for the wet weather composite sample from Outfalls 002, 003, 004A, and 004B, the effluent samples must also be analyzed for Ocean Plan indicator bacteria. Based on these results the Regional Board will determine the frequency of sampling (at a minimum, annually) and the constituents to be tested during the remainder of the permit cycle, except that chronic toxicity must be tested at least twice annually.

- Twice annually, once during dry weather and once during wet weather, the receiving water and sediment in the vicinity of the SIO pier must be sampled and analyzed for Ocean Plan Table B constituents. Receiving water must also be monitored for compliance with Ocean Plan bacterial water quality objectives.  For sediment toxicity testing, only an acute toxicity test using the amphipod Eohaustorius estuarius must be performed.  All other Table B constituents must be analyzed during the first year. The Regional Board will determine the sample location(s) seaward of the surf zone. Based on the first year sample results the Regional Board will determine specific constituents to be tested during the remainder of the permit cycle, except that copper and chronic toxicity for water must be tested twice annually, and copper and acute toxicity for sediment must be tested annually.

- If the results of receiving water monitoring indicate that wet weather discharges that include storm water are causing or contributing to an alteration of natural water quality in the ASBS, UCSD/SIO is required to submit a report to the Regional Board within 30 days. Those constituents in storm water  that alter natural water quality must be identified in that report. The report must describe BMPs that are currently being implemented, BMPs that are planned for in the SWMP, and additional BMPs that may be added to the SWMP.  The report shall include a new or modified implementation schedule. The Regional Board may require modifications to the report. Within 30 days following approval of the report by the Regional Board, UCSD/SIO must revise its SWMP to incorporate any new or modified BMPs that have been and will be implemented, the implementation schedule, and any additional monitoring required. As long as UCSD/SIO has complied with the procedures described above and is implementing the revised SWMP, then UCSD/SIO does not have to repeat the same procedure for continuing or recurring exceedances of the same constituent.

- A study must be performed to determine the initial dilution and fate of the discharge during storms (larger waves and lower salinity discharge) and non-storm periods (smaller waves and higher salinity discharge). The study may be empirical (e.g., a dye study) and/or using a model.

- In addition to the bacterial monitoring requirements in the Ocean Plan, indicator bacteria and total residual chlorine must be tested once monthly in the effluent from Outfall 003, draining the marine mammal holding facility, when in use.

- UCSD/SIO must develop and implement administrative and/or engineering controls that result in a negligible risk of the release of exotic species, including foreign pathogens (parasites, protozoa, bacteria, and viruses).