## pH_Ave
Defining Conditions
| Low pH | High pH
| 6.5 | 8.5
| pH | Concentration (molar) |  | sum concentration pH>=7 | sum concentration pH<=7 | number conc pH>=7 | number conc Ph<=7 | Ave ph>=7 | Ave ph <=7
pH1 | 7 | 1e-07 |  | 1.1e-07 | 8.1433e-07 | 2 | 3 | 7.2596 | 6.5663
pH2 | 6.4 | 3.9811e-07
pH3 | 6.5 | 3.1623e-07
pH4 | 8 | 1e-08
Enter flows in consistent units (e.g. gpm) Leave the flows out if you want just a LOG10 average
|  | CiΔtiQi | ΔtiQi | ∑CiΔtiQi pH>=7 | ∑CiΔtiQi pH<=7 | ∑ΔtiQi pH>=7 | ∑ΔtiQi pH<=7 | ∑CiΔtiQi | ∑ΔtiQi
Q1 | 10 | 1e-06 | 10 | 1.1e-06 | 8.1433e-06 | 20 | 30 | 8.2433e-06 | 40
Q2 | 10 | 3.9811e-06 | 10
Q3 | 10 | 3.1623e-06 | 10
Q4 | 10 | 1e-07 | 10
Enter observation time in consistent units (e.g. seconds or minutes)
Δt1 | 1
Δt2 | 1
Δt3 | 1
Δt4 | 1
Average pH
[5 empty] | pH<7 | pH>7
Arithmetic Daily Average = (∑pH)/n |  |  |  |  | 6.6333 | 7.5
[5 empty] | pH<7 | pH>7
(1) True Daily Average1 = |  |  |  |  | 6.5663 | 7.2596
1 - assumes constant flows and observation times
[5 empty] | pH<7 | pH>7
(2) True Daily Average2 = |  |  |  |  | 6.5663 | 7.2596
2 - takes into account varying flows and observation times
This is a simple tool for evaluating the draft pH average FAQ. You can enter up to four pH values and optional associated stormwater flows and observation times. The worksheet will determine the average daily pH based upon a simple arithmetic average following the draft FAQ.
−log_10⁡[(∑𝐶𝑖 )/( 𝑛)]
−log_10⁡[(〖∑𝐶〗_𝑖 ∆𝑡_𝑖 𝑄_𝑖 )/( ∑∆𝑡_𝑖 𝑄_𝑖 )]
Instructions:
You can enter up to 4 pH values (can be made to handle any number of values). Separate averages will be calculated for pH's >7 and pH's <7.
The arithmetic daily average is calculated.
Two "true" averages are calculated (1) assumes there is little change in flows between pH measurements; (2) takes flow and observation times into account.
In the results box below averages >=8.5 and <=6.5 are highlighted in red bold - that way you can explore the range of pH measurements that will result in different compliance areas for each average calculation method.
The sheet is protected to prevent any unintended changes. The pw is StormWater1 - while there are no macros there are hidden calcs.
This worksheet approach could be programmed into SMARTS
Report any problems to David Balgobin (916)341-5533 or at dbalgobin@waterboards.ca.gov